## Slide 1: District Heating in Copenhagen Municipality
Maëlle Caussarieu
Energy Planner
Climate Secretariat

## Slide 2: Intro to Greater Copenhagen District Heating Network
26 Municipalities
2 transmission companies (180 km)
3 incineration CHP
2 biomass CHP
Peak-load productions
500.000 households
32 – 34 PJ / year
15% of Denmark’s heat demand
99% of Copenhagen is connected to the DH grid (55% of Greater Copenhagen heat demand)

## Slide 3: DH production in Greater Copenhagen
Chart: Varmeproduktion i hovedstadsområdet fordelt på brændsler [TJ/år]
| 1990 | 1991 | 1992 | 1993 | 1994 | 1995 | 1996 | 1997 | 1998 | 1999 | 2000 | 2001 | 2002 | 2003 | 2004 | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040
Biogas | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 109.669 | 124.708 | 120.316 | 21.8116 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036 | 101.7036
Affald, CO2-neutral andel | 2699.1784 | 579.7981 | 2732.5627 | 2819.6801 | 2977.228 | 2965.0907 | 2888.2797 | 3088.4476 | 3214.4053 | 3917.0552 | 4155.0248 | 4058.0268 | 4534.956 | 4653.2603 | 4847.7144 | 4612.9636 | 4676.7892 | 5034.5801 | 5479.4353 | 4758.2636 | 4470.5104 | 4347.7333 | 4079.3623 | 3671.9842 | 4239.8601 | 4478.1643 | 4436.8079 | 4725.158 | 5027.1123 | 5158.8894 | 5619.6022 | 4297.2201 | 4506.947 | 4732.6576 | 4896.3661 | 5063.1103 | 4936.3815 | 4809.6526 | 4682.9238 | 4556.1949 | 4429.4661 | 4414.2224 | 4398.9786 | 4383.7349 | 4368.4912 | 4353.2475 | 4337.6057 | 4321.9639 | 4306.3221 | 4290.6803 | 4275.0385
CO2-neutral biomasse | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 10.7377 | 22.7607 | 16.9571 | 18.4408 | 39.3727 | 20.7906 | 23.7924 | 33.7438 | 5150.4211 | 4210.9936 | 5184.3428 | 5509.2421 | 5996.8186 | 13050.8671 | 11892.0587 | 12933.7134 | 13681.9862 | 13663.7143 | 13422.7506 | 15275.5241 | 16967.9993 | 16496.0958 | 15650.4418 | 22507.3013 | 22652.696 | 23297.3719 | 23437.9519 | 23547.808 | 23891.5384 | 24453.2115 | 21393.4284 | 17604.1524 | 17598.0501 | 15471.5259 | 14860.806 | 14250.0862 | 12164.8158 | 12291.3712 | 12417.9266 | 12355.9684 | 12294.0103 | 12232.0521 | 12170.0939 | 12108.1358
Elbaseret varme | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 124.6857 | 249.3713 | 374.057 | 498.7427 | 623.4283 | 748.114 | 748.114 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016 | 1210.0016
Affald, fossil andel | 1329.8216 | 285.6529 | 1346.2693 | 1389.1899 | 1466.81 | 1460.8303 | 1422.9873 | 1521.6054 | 1583.6617 | 1929.8408 | 2047.0828 | 1999.2942 | 2234.266 | 2292.5517 | 2388.3546 | 2272.6984 | 2304.1438 | 2480.4189 | 2699.5887 | 2344.2844 | 2202.5151 | 2142.0257 | 2009.8057 | 1809.1001 | 2088.8791 | 2206.286 | 2185.9107 | 2327.974 | 2476.7397 | 2541.6632 | 2693.8898 | 2746.2028 | 2559.2206 | 2378.3765 | 2166.5106 | 1959.5223 | 1712.3681 | 1465.2139 | 1218.0597 | 970.9056 | 723.7514 | 721.2606 | 718.7699 | 716.2792 | 713.7884 | 711.2977 | 708.7419 | 706.1861 | 703.6303 | 701.0745 | 698.5187
Spidslast og opstartsbrændsler | 1832.9474 | 1276.8872 | 1106.6634 | 1741.925 | 1521.1465 | 4002.1292 | 5446.438 | 3373.265 | 3869.6674 | 2267.7657 | 2271.5238 | 4855.1135 | 6099.6335 | 7871.244 | 7061.6536 | 12493.0996 | 13444.0295 | 10213.9692 | 10202.1684 | 10695.7879 | 9623.2823 | 5232.7681 | 5889.7289 | 5570.1505 | 3319.0495 | 4174.0014 | 4878.1127 | 4189.2032 | 5405.422 | 4224.9041 | 3030.5262 | 2819.3894 | 2960.5353 | 3027.061 | 3654.7047 | 3492.3664 | 3445.312 | 3398.2575 | 3351.2031 | 3304.1487 | 3257.0943 | 3294.0833 | 3331.0723 | 3368.0613 | 3405.0503 | 3442.0393 | 3405.7238 | 3369.4083 | 3333.0927 | 3296.7772 | 3260.4617
Kul | 15540.1666 | 20877.832 | 21411.7212 | 24198.9192 | 23712.5576 | 22833.853 | 24361.4462 | 23403.586 | 23858.3574 | 22617.3298 | 20493.3213 | 21074.4684 | 20310.135 | 18968.7627 | 18954.7069 | 7103.0638 | 6898.0284 | 7645.8718 | 6688.7181 | 8020.5858 | 7218.9882 | 7742.3679 | 7399.56 | 8039.8608 | 6323.8451 | 6934.6799 | 6291.7326 | 5008.0523 | 3334.0782 | 2910.8166 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Udgået kapacitet | 0 | 0 | 0 | 0 | 0 | 3725.8646 | 7972.4052 | 8540.1805 | 11228.3778 | 11730.6063 | 12232.8348 | 14209.6139 | 13974.5672 | 13739.5205 | 13835.6837 | 13931.8469 | 14028.0101 | 14124.1733 | 14220.3365
Notes: Tilbage til i dag:
I dag bruger vi i hovedstadsområdet primært biomasse og affald til varme og elproduktion – biomasse står for ca. 2/3 af varmeproduktionen i hovedstadsområdet
Men hvis vi skal udfase biomasse, som der et politisk ønske om:
Røde viser kapacitet der mangler, hvis blokkene skal ud udfases
Hvilke kontrakter udløber=
Avedøre 2 (2027) + 1 (2033)
Amager blok 1 (2029)
OBS! Figuren viser hele hovedstadsområdet – ikke kun KK.

## Slide 4: Intro to Greater Copenhagen District Heating Network
26 Municipalities
2 transmission companies (180 km)
3 incineration CHP
2 biomass CHP
Peak-load productions
Copenhagen Municipality owns partly CTR, VF, ARC and owns fully HOFOR
The municipality is also the heating authority (approving heat projects of HOFOR and Copenhagueners)

## Slide 5: What is Copenhagen Municipality’s role?
Influence
CO2 reduction potential
Municipality as a company
Municipality as an authority
Municipality as a company-owner
Municipality as a facilitator
Notes: Charlotte
Hvilke metodiske områder har vi?
Vi går fra en systemændring til at påvirke det enkelte individ.
Kommunen som virksomhed: stille krav i indkøb og egne handlinger
Kommunen som myndighed: stille krav i div. myndighedsopgaver som f.eks.
Kommunen som selskabsejer: Stille krav til selskabernes ageren, f.eks.
Kommunen som facilitator: Hjælpe københavnerne med grønne nabofællesskaber, ændring i forbrugsmønstre mv.
Vores muligheder for indflydelse falder i den kommende klimaplan, når vi bevæger os over mod adfærd.
Vi undersøger mulighederne for hhv. at arbejde med indikatorer i højere grad, når kausaliteten bliver udvisket, for at kunne følge graden af påvirkning bedre. Det undersøges også hvordan vi kan arbejde med flere delmål der placerer sig forskelligt i forhold til sikkerheden i at op nå dem.

## Slide 6: What is Copenhagen Municipality’s role?
Chart: CO₂ emissions 2010-2025, tons CO₂
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025
Nettoudledninger | 2166654.244 | 1779114.9281 | 1641706.0575 | 1693949.2437 | 1454602.1731 | 1330801.0088 | 1402278.873 | 1231022.8903 | 1229986.5619 | 1036374.0532 | 706505.0074 | 603989.5158 | 565557.5189 | 525215.1009 | 479486.8731 | 393117.4283

## Slide 7: Climate plan and its four tracks
ENERGY CONSUMPTION
ENERGY PRODUCTION
MOBILITY
MUNICIPALITY AS A COMPANY
86%
1%
12%
1%
Notes: Fire spor:
Energiforbrug – lille andel af CO₂ besparelser
Energiproduktion – el + fjernvarme + CCS
Mobilitet
KK som virksomhed – egne køretøjer, egne bygninger, gadebelysning, etc

## Slide 8: What is Copenhagen Municipality’s role?
In the Climate Secretariat, our role is to
  Strategic development of the climate/energy plans
  Monitoring the climate/energy plans
  Coordination between the politicians and the companies
  CO2 accountancy
More specifically regarding DH:
  Finding areas for large-scale heat pumps
  Energy consumption initiatives
  Low-temperature strategy – with HOFOR
  Sorting of plastics from waste
  …

## Slide 9
What is our biggest challenge? (And how do we work with it)
Many different agendas, from the politicians as well as from the companies
Many things we cannot directly act upon
Many unknown about the coming future

## Slide 10: What is our biggest challenge? (And how do we work with it)
Vedvarende energikilder
Bæredygtig biomasse
Elnet
El
El
Røggas med CO2
Carbon Capture anlæg
Syntesefabrik
CO2
”X”
El
Overskudsvarme
Overskudsvarme
Elektrolyseanlæg
El
El
Ilt
Brint
E-fuels
Udskibning til CO2 lager
CO2
CO2 fra biogas
Varmepumper
CHP plants
Fx AMV4
DH
Surplus heat
Notes: Many different agendas, from the politicians as well as from the companies
Many unknown about the coming future
Many things we cannot directly act upon

## Slide 11: What is our biggest challenge? (And how do we work with it)
Vedvarende energikilder
Bæredygtig biomasse
Elnet
El
El
Røggas med CO2
Carbon Capture anlæg
Syntesefabrik
CO2
”X”
El
Overskudsvarme
Overskudsvarme
Elektrolyseanlæg
El
El
Ilt
Brint
E-fuels
Udskibning til CO2 lager
CO2
CO2 fra biogas
Varmepumper
CHP plants
Fx AMV4
DH
Surplus heat
Notes: Many different agendas, from the politicians as well as from the companies
Many unknown about the coming future
Many things we cannot directly act upon

## Slide 12: Developing Copenhagen’s Climate Plan 2035
Transition strategy
2026-2035
Roadmap 2026-2029
Foods
Accountancy, methods and effects
Constructions
Mobility
Energy
Things and stuff
Transport and experiences

## Slide 13: Developing Copenhagen’s Climate Plan 2035
The role of buildings
The role of biomasse
The role of waste incineration
The role of CCU/S
Electricity supply and sector couplings
Decentral heat productions
Wind and solar
Peak productions
Energy strategy
2026-2035
Energy plans
2026-2030
2030-2035
Key principles
Initiatives
KK + energy actors in KK
KK

## Slide 14: Thank you
Contact
Maëlle Caussarieu Energy Planner
City of Copenhagen
+45 2033 6198
Maelle.nolwenn.caussarieu@kk.dk